INDIAN INSTITUTE OF ENGINEERING SCIENCE AND TECHNOLOGY                                                      Shibpur, P.O. Botanic Garden (Formerly Bengal Engineering and Science University)

HOWRAH (West Bengal, India)-711103

Phone: 033 26684561

Notice Inviting Tender

Tender No: 03/DY.REG/21-22	 							         Date:  03.05.2021

Sealed quotations are invited from bonafide Contractor, Emergent repair, painting and other miscelleneous work at B -244 inside the campus of IIEST, Shibpur, Howrah-711103.

The quotation will be received in the drop box.

| Important Information |  |
| --- | --- |
| Drop Box at | Office of Deputy Registrar, Stores and Purchase |
| Start date of tender Submission | 03.05.2021 |
| Time | Between 11:00 am and 5:00 pm (on all working days) |
| Last date of tender submission | 06.05.2021 at 01:00 pm |
| Tender Opening date | 06.05.2021 at 02:30 pm |
| Tender Opening place | Office of the Superintendent Engineer |

REGISTRAR

Terms & Conditions:-

- To qualify for award of the contract the bidder should have valid electrical license for building electrification works  and should have satisfactory completed at least one similar work of value not less than Rs 50,000.00

- Quotation are to be submitted as per above mentioned format along with GST, PAN, Valid Trade License.

- All rates quoted should be inclusive of all taxes, levies & duties and Labor Welfare Cess, The rates should be   quoted    both in figures and words. Request for inclusion of any tax/levy at later stage will not be entertained.

- Transportation, Packing, Forwarding and Insurance Charges if any to be charged should be   specifically indicated.

- The Institute reserves the right to accept or reject all or any of the tenders without assigning any reason whatsoever. The decision of the Institute shall be final in case of any dispute.

- The work should be completed within 15 days of issuing of order.

- Materials & accessories supplied/used should be as per specification and of Approved Quality (B.I.S.) or by the authorised    officer of IIEST, Shibpur.

- The work should be completed within stipulated period as indicated in the work-order.  A  Liquidated damages @ 0.5% per week, subject to maximum of 10% of the value of work-order, beyond which the Employer may cancel the Contract.

- Bills in Triplicate should be presented for payment within 15days of supply/completion of work.

- The Order no. is to be noted on both challan & Bill.

- All bills are to be accompanied by order copies and challans as received.

- Payment will be made within 60 days of Submission of proper bills, challans etc. by A/c payee cheque, no Cash payment will be made under any circumstances.

- Date of submission of quotation is 06.05.2021 up to 1:00 pm at the Office of the Deputy Registrar, Stores & Purchase.

- Opening on 06.05.2021 at 2.30 pm at the office of the Superintendent Engineer.

S. N. Datta

Deputy Registrar

Stores and purchase

Copy forwarded for information and necessary action to:

- Institute Website

- All Notice Board

- Suptd. Engineer, IIEST, Shibpur

Bidder Name, Address, Contact no. and email id must be super scribed on the sealed envelope.

| INDIAN INSTITUTE OF ENGINEERING, SCIENCE & TECHNOLOGY, SHIBPUR, |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| HOWRAH-711103 |  |  |  |  |  |
| BOQ FOR THE WORK OF: Emergent repair, painting and other miscelleneous work at B -244 inside the campus. |  |  |  |  |  |
| Sl No | Description of items of work (Based on PWD schedule of rates w.e.f. 01.11.2017) | Unit | Unit Rate (Rs) | Quantity | Amount (Rupees) |
| 1 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. (Page 11, Item 10) | Sqm | 19.00 | 18.75 | 356.25 |
| 2 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (Page 189, Item 1) | Sqm |  |  |  |
|  | (i) With 1:6 cement mortar (b) 20 mm thick plaster | Sqm | 160.00 | 18.75 | 3000.00 |
| 3 | Removing old scales, blisters etc. of interior surface of walls,ceiling by scraping etc. and preparing smooth and even surface with rendering or cement mortar (1:2) (as necessary), to make the surface suitable for receiving distemper. (Payment against this item will be made only when this has been done on the specific direction of the Engineer-in- charge). (Page 198, Item 4) | Sqm | 10.13 | 478.29 | 4845.08 |
| 4 | Rendering the Surface of walls and ceiling with White Cement base WATER PROOF wall putty of approved make & brand.(1.5 mm thick) (Page 198, Item 5) | Sqm | 122.00 | 119.57 | 14587.54 |
| 5 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats (Page 196, Item 10) | Sqm | 70.00 | 478.29 | 33480.30 |
| 6 | (a) Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (Page 200, Item 1) | Sqm | 38.00 | 81.24 | 3087.12 |
| 7 | (b) Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc(Page 200, Item 1) | Sqm | 29.00 | 24.75 | 717.75 |
| 8 | (A) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : |  |  |  |  |
|  | a) On timber or plastered surface : With super gloss (hi-gloss) - (iv) Two coats (with any shade except white) (page 200, Item 2) | Sqm | 81.00 | 81.24 | 6580.44 |
|  | (b) On steel or other metal surface : With super gloss (hi-gloss) - (iv) Two coats (with any shade except white (page 200, Item 2) | Sqm | 79.00 | 24.75 | 1955.25 |
| 9 | Supplying best Indian sheet glass panes set in putty and fitted and fixed with nails and putty complete. (In all floors for internal wall & upto 6 m height for external wall) (i) 3 mm thick (weighing 7.4 kg/Sq.m) (page 205, Item 1) | Sqm | 477.00 | 0.41 | 195.57 |
| 10 | Anodised aluminium barrel / tower / socket bolt (full covered) of approved manufactured from extruded section conforming to I.S. 204/74 fitted and fixed with cadmium plated (x) 300mm long x 12mm dia. bolt. (Page 144 , Item 26) | Each | 151.00 | 14.00 | 2114.00 |
| 11 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark. (vii) 100mm. X 58mm. X 1.90mm. (Page 140, Item 5) | Each | 47.00 | 12.00 | 564.00 |
| 12 | Easing door and windows. (Page 152 , Item 33) | Each | 17.00 | 12.00 | 204.00 |
| 13 | Removal of rubbish,earth etc. from the working site and disposal of the same beyond the compound, in conformity with the Municipal / Corporation Rules for such disposal, loading into truck and cleaning the site in all respect as per direction of Engineer in charge (Page 9, Item 13) | Cum. | 168.00 | 2.40 | 403.20 |
| 14 | Labour for cleaning and washing the floor garbage | Nos | 281.00 | 4.00 | 1124.00 |
| A. Total |  |  |  |  | 73214.50 |
| Add 12% for GST on A |  |  |  |  | 8785.74 |
| Add 1 % for cess on A |  |  |  |  | 732.14 |
| B. Value of work |  |  |  |  | 82000.24 |
| To qualify for award of the contract the bidder: -(a) should have satisfactorily completed as a prime contractor at least one similar work of value not less than Rs. 1,00,000/- (Rupees one lakh only) Security Deposit: The employer shall retain 10% from each payment due to the contractor as security deposit which shall be released when the Period of Maintenance has passed and Engineer has certified that all defects notified by the Engineer to the Contractor before the end of this period have been corrected.Period of Maintenance. The “Period of Maintenance” for the work is twelve months from the date of taking over possession of the completed works or one full monsoon season whichever occurs later. During the period of maintenance, the contractor will be responsible for rectifying any defects in construction free of cost to the Employer |  |  |  |  |  |
| I / We offer to execute the Works described in the Bill of Quantities of the Tender Document in your letter / tender no referred to above in accordance with the Conditions of Contract enclosed therewith at ___________ percentage above / below (*) the estimated rates, i.e. for a total Contract Price of Rs. _________________________________________________________ [in figures] * Rs. ________________________________________________________ [in words]" Authorized Signature : Date: ______________ |  |  |  |  |  |